{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["钢管"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"钢管","index":0,"n_rows":73,"n_cols":7,"rows_kept":73,"merged":[[0,0,0,1],[1,0,1,6],[3,3,26,3],[27,3,45,3],[46,3,52,3],[53,3,66,3],[67,0,67,6],[68,0,68,5],[69,0,69,5],[70,0,70,5],[71,0,71,5],[72,0,72,5]],"flags":["formulas_cached_only"]}
["附件"]
["惠州市水电建筑工程有限公司2025年度钢筋混凝土管采购项目询价报价表"]
["序号","材料名称","规格型号或指标","技术参数","单位","报价（元）","备注"]
[1,"Ⅱ级钢筋混凝土排水管","DN200","管道接口采用橡胶圈承插接口/平口企接；满足《混凝土和钢筋混凝土排水管》(GB/T11836-2023)、《给水排水管道工程施工及验收规范》(GB50268-2008)规范要求。\n其中DN1200及以下采用柔性接口承插口管，橡胶圈接口，详见标准设计图集《混凝土排水管道基础及接口》(图集号：23S516)23页；\nDN1200以上，采用柔性接口企口管，橡胶圈接口，详见标准设计图集《混凝土排水管道基础及接口》（图集号：23S516)24页:橡胶密封圈应满足《混凝土和钢筋混凝土排水管用橡胶密封圈》(JC/T946-2005)标准要求。","m",null,"含橡胶圈"]
[2,"Ⅱ级钢筋混凝土排水管","DN250",null,"m",null,"含橡胶圈"]
[3,"Ⅱ级钢筋混凝土排水管","DN300",null,"m",null,"含橡胶圈"]
[4,"Ⅱ级钢筋混凝土排水管","DN400",null,"m",null,"含橡胶圈"]
[5,"Ⅱ级钢筋混凝土排水管","DN500",null,"m",null,"含橡胶圈"]
[6,"Ⅱ级钢筋混凝土排水管","DN600",null,"m",null,"含橡胶圈"]
[7,"Ⅱ级钢筋混凝土排水管","DN700",null,"m",null,"含橡胶圈"]
[8,"Ⅱ级钢筋混凝土排水管","DN800",null,"m",null,"含橡胶圈"]
[9,"Ⅱ级钢筋混凝土排水管","DN900",null,"m",null,"含橡胶圈"]
[10,"Ⅱ级钢筋混凝土排水管","DN1000",null,"m",null,"含橡胶圈"]
[11,"Ⅱ级钢筋混凝土排水管","DN1100",null,"m",null,"含橡胶圈"]
[12,"Ⅱ级钢筋混凝土排水管","DN1200",null,"m",null,"含橡胶圈"]
[13,"Ⅱ级钢筋混凝土排水管","DN1350",null,"m",null,"含橡胶圈"]
[14,"Ⅱ级钢筋混凝土排水管","DN1400",null,"m",null,"含橡胶圈"]
[15,"Ⅱ级钢筋混凝土排水管","DN1500",null,"m",null,"含橡胶圈"]
[16,"Ⅱ级钢筋混凝土排水管","DN1650",null,"m",null,"含橡胶圈"]
[17,"Ⅱ级钢筋混凝土排水管","DN1800",null,"m",null,"含橡胶圈"]
[18,"Ⅱ级钢筋混凝土排水管","DN2000",null,"m",null,"含橡胶圈"]
[19,"Ⅱ级钢筋混凝土排水管","DN2200",null,"m",null,"含橡胶圈"]
[20,"Ⅱ级钢筋混凝土排水管","DN2400",null,"m",null,"含橡胶圈"]
[21,"Ⅱ级钢筋混凝土排水管","DN2600",null,"m",null,"含橡胶圈"]
[22,"Ⅱ级钢筋混凝土排水管","DN2800",null,"m",null,"含橡胶圈"]
[23,"Ⅱ级钢筋混凝土排水管","DN3000",null,"m",null,"含橡胶圈"]
[24,"Ⅱ级钢筋混凝土排水管","DN3500",null,"m",null,"含橡胶圈"]
[25,"Ⅲ级钢筋混凝土排水管","DN300","管道接口采用橡胶圈承插接口/平口企接；满足《混凝土和钢筋混凝土排水管》(GB/T11836-2023)、《给水排水管道工程施工及验收规范》(GB50268-2008)规范要求。\n其中DN1200及以下采用柔性接口承插口管，橡胶圈接口，详见标准设计图集《混凝土排水管道基础及接口》(图集号：23S516)23页；\nDN1200以上，采用柔性接口企口管，橡胶圈接口，详见标准设计图集《混凝土排水管道基础及接口》（图集号：23S516)24页:橡胶密封圈应满足《混凝土和钢筋混凝土排水管用橡胶密封圈》(JC/T946-2005)标准要求。","m",null,"含橡胶圈"]
[26,"Ⅲ级钢筋混凝土排水管","DN400",null,"m",null,"含橡胶圈"]
[27,"Ⅲ级钢筋混凝土排水管","DN500",null,"m",null,"含橡胶圈"]
[28,"Ⅲ级钢筋混凝土排水管","DN600",null,"m",null,"含橡胶圈"]
[29,"Ⅲ级钢筋混凝土排水管","DN700",null,"m",null,"含橡胶圈"]
[30,"Ⅲ级钢筋混凝土排水管","DN800",null,"m",null,"含橡胶圈"]
[31,"Ⅲ级钢筋混凝土排水管","DN900",null,"m",null,"含橡胶圈"]
[32,"Ⅲ级钢筋混凝土排水管","DN1000",null,"m",null,"含橡胶圈"]
[33,"Ⅲ级钢筋混凝土排水管","DN1200",null,"m",null,"含橡胶圈"]
[34,"Ⅲ级钢筋混凝土排水管","DN1350",null,"m",null,"含橡胶圈"]
[35,"Ⅲ级钢筋混凝土排水管","DN1500",null,"m",null,"含橡胶圈"]
[36,"Ⅲ级钢筋混凝土排水管","DN1650",null,"m",null,"含橡胶圈"]
[37,"Ⅲ级钢筋混凝土排水管","DN1800",null,"m",null,"含橡胶圈"]
[38,"Ⅲ级钢筋混凝土排水管","DN2000",null,"m",null,"含橡胶圈"]
[39,"Ⅲ级钢筋混凝土排水管","DN2200",null,"m",null,"含橡胶圈"]
[40,"Ⅲ级钢筋混凝土排水管","DN2400",null,"m",null,"含橡胶圈"]
[41,"Ⅲ级钢筋混凝土排水管","DN2600",null,"m",null,"含橡胶圈"]
[42,"Ⅲ级钢筋混凝土排水管","DN2800",null,"m",null,"含橡胶圈"]
[43,"Ⅲ级钢筋混凝土排水管","DN3000",null,"m",null,"含橡胶圈"]
[44,"三级砼排水管（顶管）","DN300","顶管采用顶管专用Ⅲ级钢筋混凝土，满足《混凝土和钢筋混凝土排水管》（GB/T11836-2023)、《给水排水管道工程施工及验收规范》(GB50268-2008)规范要求，采用柔性接口钢承口橡胶圈接口，详见标准设计图集《混凝土排水管道基础及接口》(图集号：23S516)25页，橡胶密封圈应满足《混凝土和钢筋混凝土排水管用橡胶密封圈》(JC/T946-2005)标准要求。","m",null,"含橡胶圈"]
[45,"三级砼排水管（顶管）","DN400",null,"m",null,"含橡胶圈"]
[46,"三级砼排水管（顶管）","DN500",null,"m",null,"含橡胶圈"]
[47,"三级砼排水管（顶管）","DN600",null,"m",null,"含橡胶圈"]
[48,"三级砼排水管（顶管）","DN700",null,"m",null,"含橡胶圈"]
[49,"三级砼排水管（顶管）","DN800",null,"m",null,"含橡胶圈"]
[50,"三级砼排水管（顶管）","DN900",null,"m",null,"含橡胶圈"]
[51,"三级砼排水管（顶管）","DN1000","顶管采用顶管专用Ⅲ级钢筋混凝土，满足《混凝土和钢筋混凝土排水管》（GB/T11836-2023)、《给水排水管道工程施工及验收规范》(GB50268-2008)规范要求，采用柔性接口钢承口橡胶圈接口，详见标准设计图集《混凝土排水管道基础及接口》(图集号：23S516)25页，橡胶密封圈应满足《混凝土和钢筋混凝土排水管用橡胶密封圈》(JC/T946-2005)标准要求。","m",null,"含橡胶圈"]
[52,"三级砼排水管（顶管）","DN1200",null,"m",null,"含橡胶圈"]
[53,"三级砼排水管（顶管）","DN1350",null,"m",null,"含橡胶圈"]
[54,"三级砼排水管（顶管）","DN1400",null,"m",null,"含橡胶圈"]
[55,"三级砼排水管（顶管）","DN1500",null,"m",null,"含橡胶圈"]
[56,"三级砼排水管（顶管）","DN1650",null,"m",null,"含橡胶圈"]
[57,"三级砼排水管（顶管）","DN1800",null,"m",null,"含橡胶圈"]
[58,"三级砼排水管（顶管）","DN2000",null,"m",null,"含橡胶圈"]
[59,"三级砼排水管（顶管）","DN2200",null,"m",null,"含橡胶圈"]
[60,"三级砼排水管（顶管）","DN2400",null,"m",null,"含橡胶圈"]
[61,"三级砼排水管（顶管）","DN2600",null,"m",null,"含橡胶圈"]
[62,"三级砼排水管（顶管）","DN2800",null,"m",null,"含橡胶圈"]
[63,"三级砼排水管（顶管）","DN3000",null,"m",null,"含橡胶圈"]
[64,"三级砼排水管（顶管）","DN3500",null,"m",null,"含橡胶圈"]
["注：单价包含材料费（包含配套材料、辅助材料等，如钢管现场焊接施工所需的防腐材料）、人工费、机械费、制作费、试验检测费、包装费、运杂费（包括装卸车费）、培训费、保险费、缺陷修复费、综合管理费、技术资料费、风险费、利润、各种税费、政策性文件规定费用等一切费用，即货物到达交货地点所发生的一切费用；数量以采购人实际采购数量为准，经验收合格后按送货量月结80%（进度款到账的情况下），当年结算至实际供货量的97%，实际供货款的3%作为质保金，质保金待完工一年后付清，具体以签订的合同条款为准。"]
["供应商名称："]
["供应商地址："]
["联系人："]
["联系电话："]
["日    期："]