{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["塑料管及管件"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"塑料管及管件","index":0,"n_rows":17,"n_cols":7,"rows_kept":17,"merged":[[0,0,0,1],[1,0,1,6],[11,0,11,6],[12,0,12,5],[13,0,13,5],[14,0,14,5],[15,0,15,5],[16,0,16,5]],"flags":["formulas_cached_only"]}
["附件"]
["工程项目塑料管及管件采购项目询价报价表"]
["序号","材料名称","规格型号或指标","技术参数","单位","报价（元）","备注"]
[1,"PE管(PE100)","φ800*58.8，1.25MPa","热熔连接，牵引管","m"]
[2,"PE法兰","De800，1.25MPa","/","套"]
[3,"PE塑料管件","De75","/","个"]
[4,"PVC-U通气帽","De110","/","个"]
[5,"PVC-U伸缩节","De110","/","个"]
[6,"PVC-U检查口","De110","/","个"]
[7,"PVC-U盲板","De110","/","个"]
[8,"PVC-U存水弯","De110","/","个"]
["注：单价包含材料费（包含配套材料、辅助材料等）、人工费、机械费、制作费、试验检测费、包装费、运杂费（包括装卸车费）、培训费、保险费、缺陷修复费、综合管理费、技术资料费、风险费、利润、各种税费、政策性文件规定费用等一切费用，即货物到达交货地点所发生的一切费用；数量以采购人实际采购数量为准，经验收合格后按送货量月结80%（进度款到账的情况下），当年结算至实际供货量的97%，实际供货款的3%作为质保金，质保金待完工一年后付清，具体以签订的合同条款为准。"]
["供应商名称："]
["供应商地址："]
["联系人："]
["联系电话："]
["日    期："]