{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["塑料管"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"塑料管","index":0,"n_rows":50,"n_cols":7,"rows_kept":50,"merged":[[0,0,0,1],[1,0,1,6],[44,0,44,6],[45,0,45,5],[46,0,46,5],[47,0,47,5],[48,0,48,5],[49,0,49,5]],"flags":["formulas_cached_only"]}
["附件"]
["广东省惠州市中心城区地下管网系统提升工程—雨水管网建设项目、惠州市增江龙门段治理工程施工（二标段）塑料管及管件采购项目询价报价表"]
["序号","材料名称","规格型号或指标","技术参数","单位","报价（元）","备注"]
[1,"聚乙烯（PE）缠绕结构壁A型管","DN200","环刚度SN8","m",null,"含橡胶圈"]
[2,"聚乙烯（PE）缠绕结构壁A型管","DN300","环刚度SN8","m",null,"含橡胶圈"]
[3,"聚乙烯（PE）缠绕结构壁A型管","DN400","环刚度SN8","m",null,"含橡胶圈"]
[4,"聚乙烯（PE）缠绕结构壁A型管","DN500","环刚度SN8","m",null,"含橡胶圈"]
[5,"聚乙烯（PE）缠绕结构壁A型管","DN200","环刚度SN10","m",null,"含橡胶圈"]
[6,"聚乙烯（PE）缠绕结构壁A型管","DN300","环刚度SN10","m",null,"含橡胶圈"]
[7,"聚乙烯（PE）缠绕结构壁A型管","DN400","环刚度SN10","m",null,"含橡胶圈"]
[8,"聚乙烯（PE）缠绕结构壁A型管","DN500","环刚度SN10","m",null,"含橡胶圈"]
[9,"聚乙烯（PE）缠绕结构壁A型管","DN200","环刚度SN12.5","m",null,"含橡胶圈"]
[10,"聚乙烯（PE）缠绕结构壁A型管","DN300","环刚度SN12.5","m",null,"含橡胶圈"]
[11,"聚乙烯（PE）缠绕结构壁A型管","DN400","环刚度SN12.5","m",null,"含橡胶圈"]
[12,"聚乙烯（PE）缠绕结构壁A型管","DN500","环刚度SN12.5","m",null,"含橡胶圈"]
[13,"塑钢中空结构壁HDPE缠绕管","DN150","环刚度SN8","m",null,"含橡胶圈"]
[14,"塑钢中空结构壁HDPE缠绕管","DN200","环刚度SN8","m",null,"含橡胶圈"]
[15,"塑钢中空结构壁HDPE缠绕管","DN300","环刚度SN8","m",null,"含橡胶圈"]
[16,"塑钢中空结构壁HDPE缠绕管","DN400","环刚度SN8","m",null,"含橡胶圈"]
[17,"塑钢中空结构壁HDPE缠绕管","DN500","环刚度SN8","m",null,"含橡胶圈"]
[18,"塑钢中空结构壁HDPE缠绕管","DN300","环刚度SN12.5","m",null,"含橡胶圈"]
[19,"塑钢中空结构壁HDPE缠绕管","DN400","环刚度SN12.5","m",null,"含橡胶圈"]
[20,"塑钢中空结构壁HDPE缠绕管","DN500","环刚度SN12.5","m",null,"含橡胶圈"]
[21,"PVC-U排水管","De32","Φ32*2.0","m"]
[22,"PVC-U排水管","De40","Φ40*2.0","m"]
[23,"PVC-U排水管","De50","Φ50*2.0","m"]
[24,"PVC-U排水管","De75","Φ75*2.3","m"]
[25,"PVC-U排水管","De110","Φ110*3.2","m"]
[26,"PVC-U排水管","De160","Φ160*4.0","m"]
[27,"PVC-U排水管","De200","Φ200*4.9","m"]
[28,"PVC-U排水管","De250","Φ250*6.2","m"]
[29,"PVC-U排水管","De315","Φ315*7.8","m"]
[30,"PVC-U排水管","De630","Φ630×15.4","m"]
[31,"PVC直通","De110",null,"个"]
[32,"PVC三通","De110",null,"个"]
[33,"45°PVC-U排水弯头","De110",null,"个"]
[34,"90°PVC-U排水弯头","De110",null,"个"]
[35,"PVC-U通气帽","De110",null,"个"]
[36,"PVC-U伸缩节","De110",null,"个"]
[37,"PVC-U检查口","De110",null,"个"]
[38,"PVC-U盲板封堵","De110",null,"个"]
[39,"PVC-U存水弯","De110",null,"个"]
[40,"HDPE波纹管","DN1200","环刚度SN8","m",null,"含橡胶圈"]
[41,"HDPE波纹管","DN2000","环刚度SN8","m",null,"含橡胶圈"]
["注：单价包含材料费（包含配套材料、辅助材料等）、人工费、机械费、制作费、试验检测费、包装费、运杂费（包括装卸车费）、培训费、保险费、缺陷修复费、综合管理费、技术资料费、风险费、利润、各种税费、政策性文件规定费用等一切费用，即货物到达交货地点所发生的一切费用；数量以采购人实际采购数量为准，经验收合格后按送货量月结80%（进度款到账的情况下），当年结算至实际供货量的97%，实际供货款的3%作为质保金，质保金待完工一年后付清，具体以签订的合同条款为准。"]
["供应商名称："]
["供应商地址："]
["联系人："]
["联系电话："]
["日    期："]